# Procedures for Using Lecia DNA03 Digital Level

Firmware Version 200.4530      Revision Date: 7/26/07

# The following format is used to identify instrument options throughout this reference:

# [Keyboard Key] - Brackets surround selection found on the keyboard.

# “Display Title” - Quotations surround titles found in the instrument display

# <Display Action> - Bracketed greater than and less than symbols surround action options on the display.

# #  Menu Option – Underlines for number and listed menu item found on display.

Item:        Fill-In – Bold indicates required fill-in information.  Italicized bold indicates variable input project/equipment/section specific and regular bold indicates standard fill-in that typically does not change.

# 1)  Perform Collimation Check 	Do first of each day or change in conditions.

From the “Meas & Rec” screen:	Press the [PROG] key.

From the “PROGRAMS” screen, select 4  CHECK & ADJUST then press the [enter] key.

From the “CHECK & ADJUST” screen, select 1  Job then press the [enter] key.

From the “SELECT JOB” screen, highlight <NEW> then press the [enter] key.

From the “NEW JOB” screen, enter appropriate values as follows (Normally there will be one job file for each day.  If a new project is started later in the day a second Collimation Check will be taken and job file created):

Job	:	SASmmdds	(initials of party chief, month, day, session A, B, C, etc.)

Oper	:	SAS		(initials of observer)

Cmtl	:	No entry - leave blank

Cmt2	:	No entry - leave blank

Highlight <SET>, then press the [enter] key.

From the “CHECK & ADJUST” screen, select 2  Meth. then press the [enter] key.

From the “SELECT METHOD” screen, toggle Meth.: with [↔] to the following:

Method:	A X X B, or A X B X     (A X B X known as Kukkamaki Method preferred)

Stf1:		No entry - leave blank

Stf2:		No entry - leave blank

From the “CHECK & ADJUST” screen, select 3 START then press the [enter] key.

Follow prompts from screen to perform the chosen C-Test.

Note the “Coll.err.new:” value and record it with sign on the “Backup Recording Sheet.”

Highlight <SET>, then press the [enter] key.

Do not set the Reticle unless observing optically using a calibrated rod with numerals.

## 2)  First Section of the Day      Start the Leveling Program

### From the “PROGRAMS” screen, select 2  LINE LEVELLING then press the [enter] key.

### From the “LINE LEVELLING - START” screen, select 2  LINE then press the [enter] key.

### From the “ACTUAL LINE” screen, highlight <NEW> then press the [enter] key.

From the “NEW LINE” screen, enter the following:

(A new line name will be created for every section; SSN = Station Serial Number)

Name	:	10011002	(From SSN to SSN; i.e., 1001 to 1002)

Meth	:	           BF [↔]	(Always BF, backsight-foresight)

PtID	:	        1001	(From starting SSN)

H0	:	0.00000 m	(Elevation at “From” Station always 0.00000 m)

Staf1	:	No entry - leave blank

Staf2	:	No entry - leave blank

Highlight <SET>, then press the [enter] key.

From the “LINE LEVELLING - START” screen, select 3  Set:     Tolerances, then press the [enter] key.

From the “SET TOLERANCES” screen, highlight <LIMITS>, then press the [enter] key.

From the “ENTER TOLERANCES” screen, enter or verify the following:

TDistBal :	  5.00 m	(Total accumulated BF imbalance)

MaxDist :	60.00 m	(Maximum sight length)

StafHigh:	  2.90 m	(Highest reading allowed on rod)

StafLow :	  0.50 m	(Lowest reading allowed on rod)

Highlight <SET>, then press the [enter] key.

From the “SET TOLERANCES” screen, toggle [↔] the following:

Precise    :	On [↔]	(Accumulated BF imbalance activated)

DistBal   :	On [↔]	(Accumulated BF imbalance activated)

MaxDist :	On [↔]	(Maximum sight length activated)

StafEnds :	On [↔]	(Highest and lowest reading allowed on rod activated)

Highlight <SET>, then press the [enter] key.

From the “LINE LEVELLING - START” screen, select 4  START/ CONT, then press the [enter] key.

Verify the “CHECK LIST” screen,

Meas – Mode	:	     Mean s

N Meas	:	         3-10

sDevM/20m	:	0.00002 m

USER-Key	:	        Code

Pt-Incr.	:		   1

Methode	:		BF

Highlight <OK>, then press the [enter] key.

At this point the “LINE LEV” screen will be displayed.

Press the [USER] key.

Note:  If the USER key has not been assigned to equal Code then press the [SHIFT][USER] keys, then select 3  CODE, then press the [enter] key.  It will be assumed the USER key has been assigned to equal Code for the remainder of this reference.

From the “CODE & ATTR ENTRY” screen, key in the following start of day information:

Code:		1	(Code number identifier – Start of day/Equip. change)

Info1:	  060705	(Information Block 1 – Date mmddyy)

Info2:	  	3	(Information Block 2 – Observer number)

Info3:	  DNA03	(Information Block 3 – Instrument type)

Info4:	 	0	(Information Block 4 – Temp. 0 = C; 1 = F)

Highlight <REC>, then press the [enter] key.

Press the [USER] key.

From the “CODE & ATTR ENTRY” screen, key in the following equipment information:

Code:		2	(Code number identifier – Start of day/Equip. change)

Info1:	  332296	(Information Block 1 – Instrument S/N)

Info2:           -25	(Information Block 2 – Collimation with sign; no decimal point)

Info3:	    26685	(Information Block 3 – Rod #1 S/N)

Info4:	    26686	(Information Block 4 – Rod #2 S/N)

Highlight <REC>, then press the [enter] key.

The Section is ready to begin – ready to take first measurement – enter beginning of section information.

Press the [USER] key.

From the “CODE & ATTR ENTRY” screen, key in the following starting section information:

Code:	           11	(Code number identifier – Beginning Section Information)

Info1:	      0958	(Information Block 1 – Time, 24 hr; hhmm)

Info2:	  	1	(Information Block 2 – Rod # on mark)

Info3:	        293	(Information Block 3 – Starting temperature, no decimal point)

Info4: 	      No entry -leave blank

Highlight <REC>, then press the [enter] key.

Point instrument at Backsight, focus, press [Measurement Button], monitor standard deviation, etc.

Point instrument at Foresight, focus, press [Measurement Button], monitor standard deviation, etc.

When setup is complete and acceptable, tell back rod person to move forward for next setup.

Press the [USER] key.

From the “CODE & ATTR ENTRY” screen, key in the following temperatures:

Code:	           33	(Code number identifier – Thermistor readings)

Info1:	         292	(Information Block 1 – Bottom probe; no decimal point)

Info2:	         291	(Information Block 2 – Top probe; no decimal point)

Info3:	      No entry -leave blank

Info4: 	      No entry -leave blank

Highlight <REC>, then press the [enter] key.

Move instrument to next setup location.  Repeat steps until ending bench mark is reached.

Point instrument at Backsight, focus, press [Measurement Button], monitor standard deviation, etc.

Point instrument at Foresight, focus, press [Measurement Button], monitor standard deviation, etc.

When setup is complete and acceptable, tell back rod person to move forward for next setup.

Press the [USER] key.

From the “CODE & ATTR ENTRY” screen, key in the following temperatures:

Code:	           33	(Code number identifier – Thermistor readings)

Info1:	         294	(Information Block 1 – Bottom probe; no decimal point)

Info2:	         292	(Information Block 2 – Top probe; no decimal point)

Info3:	      No entry -leave blank

Info4: 	      No entry -leave blank

Highlight <REC>, then press the [enter] key.

Repeat sequence for subsequent setups – Backsight, Foresight, Temperatures – until last setup.

Move instrument to last setup location (Foresight will be on ending bench mark).

Point instrument at Backsight, focus, press [Measurement Button], monitor standard deviation, etc.

Note: Before measuring the Foresight on the ending bench mark.

Press [SHIFT][USER] keys, then select 4  PtID & Increment, then press the [enter] key.

From the “PtID & INCREMENT” screen.

Running PtID

PtID:	      1002	(Enter ending SSN)

Incr:		1  	(Setup numbering increment; leave as 1)

Highlight <SET>, then press the [enter] key.

Point instrument at Foresight, focus, press [Measurement Button], monitor standard deviation, etc.

When setup is complete and acceptable, tell back rod person to move forward for next section.

Press the [USER] key.

From the “CODE & ATTR ENTRY” screen, key in the following temperatures:

Code:	           33	(Code number identifier – Thermistor readings)

Info1:	         294	(Information Block 1 – Bottom probe; no decimal point)

Info2:	         292	(Information Block 2 – Top probe; no decimal point)

Info3:	      No entry -leave blank

Info4: 	      No entry -leave blank

Highlight <REC>, then press the [enter] key.

The Section is ready to end – after last temperature recording.

Press the [USER] key.

From the “CODE & ATTR ENTRY” screen, key in the following ending section information:

Code:	           99	(Code number identifier – Ending Section Information)

Info1:	      1055	(Information Block 1 – Time, 24 hr; hhmm)

Info2:	  	1	(Information Block 2 – Rod # on mark)

Info3:	        293	(Information Block 3 – Ending temperature, no decimal point)

Info4: 	           12	(Information Block 4 – Wind and Sun codes; partly cloudy./sunny)

Highlight <REC>, then press the [enter] key.

Record the Section Observation Information on the Backup Recording Sheet.

From the “LINE LEV” screen, highlight <CL>, then press the [enter] key.

From the “LINE INFO” screen, record the following section totals:

Line:		     10011002	(Not necessary to record this information)

#Stations:		    20	(Total number of setups)

dH T:		-12.12345 m	(Elevation difference with sign between starting/ending marks)

DTot:		    1265.43 m	(Total section distance in meters)

TBal:		          -2.3 m	(Section total accumulated imbalance with sign)

Highlight <END>, then press the [enter] key to return to main “LINE LEV” screen.

Highlight <END>, then press the [enter] key to return to main “PROGRAMS” screen.

This ends the Section.

3)  The Next and Subsequent Sections in the Same Day

### From the “PROGRAMS” screen, select 2  LINE LEVELLING, then press the [enter] key.

### From the “LINE LEVELLING - START” screen, select 2  Line, then press the [enter] key.

### From the “ACTUAL LINE” screen, highlight <NEW>, then press the [enter] key.

From the “NEW LINE” screen, enter the following:

(A new line name will be created for every section; SSN = Specific Station Number)

Name	:	  10021003		(From SSN to SSN; i.e., 1002 to 1003)

Meth	:		BF [↔]	(Always BF, backsight-foresight)

PtID	:	         1002		(From starting SSN)

H0	:	0.00000 m		(Elevation at “From” Station always 0.00000 m)

Staf1	:	No entry - leave blank

Staf2	:	No entry - leave blank

Highlight <SET>, then press the [enter] key.

From the “LINE LEVELLING - START” screen, select 3  Set:     Tolerances, then press the [enter] key.

From the “SET TOLERANCES” screen, confirm the following:

Precise    :	On [↔]	(Accumulated BF imbalance activated)

DistBal   :	On [↔]	(Accumulated BF imbalance activated)

MaxDist :	On [↔]	(Maximum sight length activated)

StafEnds :	On [↔]	(Highest and lowest reading allowed on rod activated)

Highlight <SET>, then press the [enter] key.

From the “LINE LEVELLING - START” screen, select <4   START> then press the [enter] key.

Verify the “CHECK LIST” screen, select <OK> then press the [enter] key.

At this point the “LINE LEV” screen will be displayed.

Press the <SHIFT>< USER> keys, select <3 CODE>

From the “CODE & ATTR ENTRY” screen, key in the following

Code:	           11	(Code number identifier – Beginning Section Information)

Info1:	      1102	(Information Block 1 – Time, 24 hr; hhmm)

Info2:	  	1	(Information Block 2 – Rod # on mark)

Info3:	        301	(Information Block 3 – Starting temperature, no decimal point)

Info4: 	      No entry -leave blank

Highlight <REC>, then press the [enter] key.

Press <SHIFT><USER> keys, select <4 PtID & INCREMENT> key then press the [enter] key.

From the “PtID & INCREMENT” screen,

Running PtID

PtID: 		1 	(Enter first Foresight number as 1)

Incr: 		1	(Setup numbering increment; leave as 1)

Highlight <SET>, then press the [enter] key.

Point instrument at Foresight, focus, press [Measurement Button], monitor standard deviation, etc.

When setup is complete and acceptable, tell back rod person to move forward for next section.

Press the [USER] key.

From the “CODE & ATTR ENTRY” screen, key in the following

Code:	           33	(Code number identifier – Thermistor readings)

Info1:	         294	(Information Block 1 – Bottom probe; no decimal point)

Info2:	         292	(Information Block 2 – Top probe; no decimal point)

Info3:	      No entry -leave blank

Info4: 	      No entry -leave blank

Highlight <REC>, then press the [enter] key.

Move instrument to next setup location.  Repeat steps until ending bench mark is reached.

Continue as in starting Section following previous steps through to the ending setup.

4)  End of Day or Change in Observer or Equipment

Press the [USER] key.

From the “CODE & ATTR ENTRY” screen, key in the following

Code:	        9999	(Code number identifier – End of day/change in observer or equip.)

Info1:	      No entry -leave blank

Info2:	      No entry -leave blank

Info3:	      No entry -leave blank

Info4: 	      No entry -leave blank

Highlight <REC>, then press the [enter] key.

Highlight <END>, then press the [enter] key to return to main “PROGRAMS” screen.

5)  Codes and Information Blocks

Anytime while in the leveling routine one can enter a code block into the job data file.  Codes are entered by pressing the [SHIFT][USER] keys, then selecting 3  Code (the “Code” function can be assigned to the [USER] key).  Enter the code number and the appropriate information for the code in the information blocks.  There are 4 information blocks to fill in for each code.  If there is no entry required simply press the [enter] key to move to the next field.  Once finished, highlight <REC>, then press the [enter] key to record the data and return to the “LINE LEV” screen.

The codes will be entered as follows:

Code 1		Entered at the beginning of the day, change in observer, or change in instrument

Code 2		Inserted at the beginning of the day or change in level or rods

Code 11	Inserted at the beginning of a section

Code 22	Will reject the previous backsight and foresight

Code 33	Temperature code inserted after each set-up if recording gradient temperatures

Code 99	Inserted at the end of a section

Code 9999	Inserted at the end of day or for change of observer or equipment

# CODE 1	Beginning of Day or Change in Observer/Instrument Type

Info 1		Date (mmddyy)

Info 2		Observer’s Number 	(1, 2, 3, etc)

Info 3		Instrument Type 	(NA2002, NA3003, DNA03, etc)

Info 4		Temperature Code 	(0 for C or 1 for F)

# CODE 2	Equipment Used   (Always accompanies a Code 1)

Info 1		Instrument Serial Number 		(like 90810)

Info 2		C Test Error in Seconds of Arc 	(no decimal, like –58 for –5.8)

Info 3		Rod 1 Serial Number 			(like 25458)

Info 4		Rod 2 Serial Number 			(like 25534)

# CODE 11	Start of Leveling Section

Info 1		Start Time 			(hhmm, 24 hour local)

Info 2		Rod on mark 			(1 or 2)

Info 3		Starting Temp at Instrument	(no decimal, key 750 for 75.0 F)

Info 4		No entry – leave blank

# CODE 22	Reject Previous Backsight and Foresight

Info 1		No entry– leave blank

Info 2		No entry– leave blank

Info 3		No entry– leave blank

Info 4		No entry– leave blank

# CODE 33	Temperature Gradient (Taken after each complete BF setup)

Info 1		Lower Probe 			(no decimal, key 281 for 28.1 C)

Info 2		Upper Probe 			(no decimal, key 281 for 28.1 C)

Info 3		No entry– leave blank

Info 4		No entry– leave blank

# CODE 99	End of Leveling Section

Info 1		Ending Time 			(hhmm, 24 hour local)

Info 2		Rod on mark 			(1 or 2)

Info 3		Ending Temp at Instrument 	(no decimal, key 750 for 75.0 F)

Info 4		Wind & Sun Code		(00 = Calm/Cloudy; 12 = Breezy/Sunny, etc.)

Wind Code:

0 – Calm	Wind speed averaged less than 6 mph during section

1 – Breezy	Wind speed averaged 6 to 15 mph during section

2 – Windy	Wind speed averaged greater than 15 mph during section

Sun Code:

0 – Cloudy		Less than 25% of setups are performed in sunny conditions

1 – Partly Cloudy	25 to 75% of setups are performed in sunny conditions

2 – Sunny		More than75 % of setups are performed in sunny conditions

# CODE 9999	End of Day or Change of Observer or Change of Equipment

Info 1		No entry - leave blank

Info 2		No entry - leave blank

Info 3		No entry - leave blank

Info 4		No entry - leave blank

Codes:  Begin each day or change of observer or equipment with a Code 1 and Code 2 and required Info Blocks.  Begin each section with a Code 11 and required Info Blocks.  End each section with a Code 99 and required Info Blocks.  End each day or signal a change of observer or equipment with a Code 9999 and no Info Block entries.

6)  Notes, Tips and Recap

Note for Last Setup:  On the last setup for each section, key in the ending SSN of the mark leveled to before measuring the last Foresight.  Press [SHIFT][USER] keys then select 4  PtID & INCREMENT, then press the [enter] key to enter the “PtID & INCREMENT” screen.  Enter the ending SSN in the “PtID:” line, leave “Incr:” line as 1, then highlight <SET>, then press the [enter] key.  This assigns the SSN to the Foresight point.  Measure the last Foresight.

At the end of each section:  Write down the pertinent Section Observation Information in the appropriate spaces on the Backup Recording Sheet.  #Stations: = Total number of setups; dHT: = Elevation difference with sign between starting and ending marks; DTot: = Total Distance; TBal: = Total accumulated imbalance.

After ALL Section Observation Information has been recorded highlight <END>, then press the [enter] key to end the section and return to the “PROGRAMS” screen.

To begin the next section repeat the previous steps starting with the “PROGRAMS” screen, select 2  LINE LEVELLING, then press the [enter] key.  Use the same 1  JOB, but set a new  2  Line with new section information, use same 3  Set:     Tolerances, then 4  Start.

Enter a Code 11 and required Info Blocks for the beginning of the section.

At this point the “PtID & INCREMENT” numbering must be changed back to PtID: = 1 or the next station numbers will keep adding to the last setup number.  Press [SHIFT][USER] keys, then select 4  PtID & INCREMENT, then press the [enter] key to enter the “PtID & INCREMENT” screen.  Enter a 1 in the PtID: line, leave Incr: line as 1, then highlight <SET>, then press the [enter] key.  Then measure the first Backsight or Foresight wherever in the first measurement the point ID was changed - before or after the first Backsight – both work to change the first Foresight to PtID 1.

Enter a Code 99 and required Info Blocks for the ending of the section.